## parameters
| version | converged | name | f_hz | sn_mva
0 | 2.8.0 | FALSE |  | 50 | 10

## bus
| name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu
0 | 0 | 12.66 | b | 1 | TRUE | 1 | 1
1 | 1 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
2 | 2 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
3 | 3 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
4 | 4 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
5 | 5 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
6 | 6 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
7 | 7 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
8 | 8 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
9 | 9 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
10 | 10 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
11 | 11 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
12 | 12 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
13 | 13 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
14 | 14 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
15 | 15 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
16 | 16 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
17 | 17 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
18 | 18 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
19 | 19 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
20 | 20 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
21 | 21 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
22 | 22 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
23 | 23 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
24 | 24 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
25 | 25 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
26 | 26 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
27 | 27 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
28 | 28 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
29 | 29 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
30 | 30 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
31 | 31 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
32 | 32 | 12.66 | b | 1 | TRUE | 0.9 | 1.1
33 | 33 | 13.66 | b | 2 | TRUE | 0.9 | 1.1
34 | 34 | 14.66 | b | 3 | TRUE | 0.9 | 1.1
35 | 35 | 15.66 | b | 4 | TRUE | 0.9 | 1.1
36 | 36 | 16.66 | b | 5 | TRUE | 0.9 | 1.1
37 | 37 | 17.66 | b | 6 | TRUE | 0.9 | 1.1
38 | 38 | 18.66 | b | 7 | TRUE | 0.9 | 1.1
39 | 39 | 19.66 | b | 8 | TRUE | 0.9 | 1.1
40 | 40 | 20.66 | b | 9 | TRUE | 0.9 | 1.1
41 | 41 | 21.66 | b | 10 | TRUE | 0.9 | 1.1
42 | 42 | 22.66 | b | 11 | TRUE | 0.9 | 1.1
43 | 43 | 23.66 | b | 12 | TRUE | 0.9 | 1.1
44 | 44 | 24.66 | b | 13 | TRUE | 0.9 | 1.1
45 | 45 | 25.66 | b | 14 | TRUE | 0.9 | 1.1
46 | 46 | 26.66 | b | 15 | TRUE | 0.9 | 1.1
47 | 47 | 27.66 | b | 16 | TRUE | 0.9 | 1.1
48 | 48 | 28.66 | b | 17 | TRUE | 0.9 | 1.1
49 | 49 | 29.66 | b | 18 | TRUE | 0.9 | 1.1
50 | 50 | 30.66 | b | 19 | TRUE | 0.9 | 1.1
51 | 51 | 31.66 | b | 20 | TRUE | 0.9 | 1.1
52 | 52 | 32.66 | b | 21 | TRUE | 0.9 | 1.1
53 | 53 | 33.66 | b | 22 | TRUE | 0.9 | 1.1
54 | 54 | 34.66 | b | 23 | TRUE | 0.9 | 1.1
55 | 55 | 35.66 | b | 24 | TRUE | 0.9 | 1.1
56 | 56 | 36.66 | b | 25 | TRUE | 0.9 | 1.1
57 | 57 | 37.66 | b | 26 | TRUE | 0.9 | 1.1
58 | 58 | 38.66 | b | 27 | TRUE | 0.9 | 1.1
59 | 59 | 39.66 | b | 28 | TRUE | 0.9 | 1.1
60 | 60 | 40.66 | b | 29 | TRUE | 0.9 | 1.1
61 | 61 | 41.66 | b | 30 | TRUE | 0.9 | 1.1
62 | 62 | 42.66 | b | 31 | TRUE | 0.9 | 1.1
63 | 63 | 43.66 | b | 32 | TRUE | 0.9 | 1.1
64 | 64 | 44.66 | b | 33 | TRUE | 0.9 | 1.1
65 | 65 | 45.66 | b | 34 | TRUE | 0.9 | 1.1
66 | 66 | 46.66 | b | 35 | TRUE | 0.9 | 1.1
67 | 67 | 47.66 | b | 36 | TRUE | 0.9 | 1.1
68 | 68 | 48.66 | b | 37 | TRUE | 0.9 | 1.1
69 | 69 | 49.66 | b | 38 | TRUE | 0.9 | 1.1
70 | 70 | 50.66 | b | 39 | TRUE | 0.9 | 1.1
71 | 71 | 51.66 | b | 40 | TRUE | 0.9 | 1.1
72 | 72 | 52.66 | b | 41 | TRUE | 0.9 | 1.1
73 | 73 | 53.66 | b | 42 | TRUE | 0.9 | 1.1
74 | 74 | 54.66 | b | 43 | TRUE | 0.9 | 1.1
75 | 75 | 55.66 | b | 44 | TRUE | 0.9 | 1.1
76 | 76 | 56.66 | b | 45 | TRUE | 0.9 | 1.1
77 | 77 | 57.66 | b | 46 | TRUE | 0.9 | 1.1
78 | 78 | 58.66 | b | 47 | TRUE | 0.9 | 1.1
79 | 79 | 59.66 | b | 48 | TRUE | 0.9 | 1.1
80 | 80 | 60.66 | b | 49 | TRUE | 0.9 | 1.1
81 | 81 | 61.66 | b | 50 | TRUE | 0.9 | 1.1
82 | 82 | 62.66 | b | 51 | TRUE | 0.9 | 1.1
83 | 83 | 63.66 | b | 52 | TRUE | 0.9 | 1.1
84 | 84 | 64.66 | b | 53 | TRUE | 0.9 | 1.1
85 | 85 | 65.66 | b | 54 | TRUE | 0.9 | 1.1
86 | 86 | 66.66 | b | 55 | TRUE | 0.9 | 1.1
87 | 87 | 67.66 | b | 56 | TRUE | 0.9 | 1.1
88 | 88 | 68.66 | b | 57 | TRUE | 0.9 | 1.1
89 | 89 | 69.66 | b | 58 | TRUE | 0.9 | 1.1
90 | 90 | 70.66 | b | 59 | TRUE | 0.9 | 1.1
91 | 91 | 71.66 | b | 60 | TRUE | 0.9 | 1.1
92 | 92 | 72.66 | b | 61 | TRUE | 0.9 | 1.1
93 | 93 | 73.66 | b | 62 | TRUE | 0.9 | 1.1
94 | 94 | 74.66 | b | 63 | TRUE | 0.9 | 1.1
95 | 95 | 75.66 | b | 64 | TRUE | 0.9 | 1.1
96 | 96 | 76.66 | b | 65 | TRUE | 0.9 | 1.1
97 | 97 | 77.66 | b | 66 | TRUE | 0.9 | 1.1
98 | 98 | 78.66 | b | 67 | TRUE | 0.9 | 1.1
99 | 99 | 79.66 | b | 68 | TRUE | 0.9 | 1.1
100 | 100 | 80.66 | b | 69 | TRUE | 0.9 | 1.1
101 | 101 | 81.66 | b | 70 | TRUE | 0.9 | 1.1
102 | 102 | 82.66 | b | 71 | TRUE | 0.9 | 1.1
103 | 103 | 83.66 | b | 72 | TRUE | 0.9 | 1.1
104 | 104 | 84.66 | b | 73 | TRUE | 0.9 | 1.1
105 | 105 | 85.66 | b | 74 | TRUE | 0.9 | 1.1
106 | 106 | 86.66 | b | 75 | TRUE | 0.9 | 1.1
107 | 107 | 87.66 | b | 76 | TRUE | 0.9 | 1.1
108 | 108 | 88.66 | b | 77 | TRUE | 0.9 | 1.1
109 | 109 | 89.66 | b | 78 | TRUE | 0.9 | 1.1
110 | 110 | 90.66 | b | 79 | TRUE | 0.9 | 1.1
111 | 111 | 91.66 | b | 80 | TRUE | 0.9 | 1.1
112 | 112 | 92.66 | b | 81 | TRUE | 0.9 | 1.1
113 | 113 | 93.66 | b | 82 | TRUE | 0.9 | 1.1
114 | 114 | 94.66 | b | 83 | TRUE | 0.9 | 1.1
115 | 115 | 95.66 | b | 84 | TRUE | 0.9 | 1.1
116 | 116 | 96.66 | b | 85 | TRUE | 0.9 | 1.1
117 | 117 | 97.66 | b | 86 | TRUE | 0.9 | 1.1
118 | 118 | 98.66 | b | 87 | TRUE | 0.9 | 1.1
119 | 119 | 99.66 | b | 88 | TRUE | 0.9 | 1.1
120 | 120 | 100.66 | b | 89 | TRUE | 0.9 | 1.1
121 | 121 | 101.66 | b | 90 | TRUE | 0.9 | 1.1
122 | 122 | 102.66 | b | 91 | TRUE | 0.9 | 1.1

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type | controllable
0 |  | 0 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | FALSE
1 |  | 1 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
2 |  | 2 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
3 |  | 3 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
4 |  | 4 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
5 |  | 5 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
6 |  | 6 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
7 |  | 7 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
8 |  | 8 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
9 |  | 9 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
10 |  | 10 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
11 |  | 11 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
12 |  | 12 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
13 |  | 13 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
14 |  | 14 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
15 |  | 15 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
16 |  | 16 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
17 |  | 17 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
18 |  | 18 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
19 |  | 19 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
20 |  | 20 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
21 |  | 21 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
22 |  | 22 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
23 |  | 23 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
24 |  | 24 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
25 |  | 25 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
26 |  | 26 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
27 |  | 27 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | FALSE
28 |  | 28 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
29 |  | 29 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
30 |  | 30 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
31 |  | 31 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
32 |  | 32 | 0.105 | 0.075 | 0 | 0 |  | 1 | TRUE | wye | FALSE
33 |  | 33 | 0.21 | 0.15 | 0 | 0 |  | 1 | TRUE | wye | FALSE
34 |  | 34 | 0.14 | 0.095 | 0 | 0 |  | 1 | TRUE | wye | FALSE
35 |  | 35 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
36 |  | 36 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
37 |  | 37 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
38 |  | 38 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
39 |  | 39 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
40 |  | 40 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
41 |  | 41 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | FALSE
42 |  | 42 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
43 |  | 43 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
44 |  | 44 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
45 |  | 45 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
46 |  | 46 | 0.075 | 0.035 | 0 | 0 |  | 1 | TRUE | wye | FALSE
47 |  | 47 | 0.14 | 0.1 | 0 | 0 |  | 1 | TRUE | wye | FALSE
48 |  | 48 | 0.075 | 0.035 | 0 | 0 |  | 1 | TRUE | wye | FALSE
49 |  | 49 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
50 |  | 50 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
51 |  | 51 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
52 |  | 52 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | FALSE
53 |  | 53 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
54 |  | 54 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
55 |  | 55 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
56 |  | 56 | 0.245 | 0.18 | 0 | 0 |  | 1 | TRUE | wye | FALSE
57 |  | 57 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
58 |  | 58 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
59 |  | 59 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
60 |  | 60 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
61 |  | 61 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
62 |  | 62 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
63 |  | 63 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
64 |  | 64 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
65 |  | 65 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
66 |  | 66 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
67 |  | 67 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
68 |  | 68 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
69 |  | 69 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
70 |  | 70 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
71 |  | 71 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
72 |  | 72 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
73 |  | 73 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
74 |  | 74 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
75 |  | 75 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | FALSE
76 |  | 76 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
77 |  | 77 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
78 |  | 78 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
79 |  | 79 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
80 |  | 80 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
81 |  | 81 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
82 |  | 82 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
83 |  | 83 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
84 |  | 84 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
85 |  | 85 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
86 |  | 86 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
87 |  | 87 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
88 |  | 88 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
89 |  | 89 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
90 |  | 90 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
91 |  | 91 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
92 |  | 92 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
93 |  | 93 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
94 |  | 94 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
95 |  | 95 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
96 |  | 96 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
97 |  | 97 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
98 |  | 98 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
99 |  | 99 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
100 |  | 100 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
101 |  | 101 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
102 |  | 102 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
103 |  | 103 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
104 |  | 104 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
105 |  | 105 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
106 |  | 106 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
107 |  | 107 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
108 |  | 108 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
109 |  | 109 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
110 |  | 110 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye | FALSE
111 |  | 111 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
112 |  | 112 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
113 |  | 113 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
114 |  | 114 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
115 |  | 115 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
116 |  | 116 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
117 |  | 117 | 0.105 | 0.075 | 0 | 0 |  | 1 | TRUE | wye | FALSE
118 |  | 118 | 0.21 | 0.15 | 0 | 0 |  | 1 | TRUE | wye | FALSE
119 |  | 119 | 0.14 | 0.095 | 0 | 0 |  | 1 | TRUE | wye | FALSE
120 |  | 120 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE
121 |  | 121 | 0.02 | 0.01 | 0 | 0 |  | 1 | TRUE | wye | FALSE
122 |  | 122 | 0.04 | 0.02 | 0 | 0 |  | 1 | TRUE | wye | FALSE

## switch
| bus | element | et | type | closed | name | z_ohm
0 | 18 | 119 | b |  | TRUE |  | 0
1 | 13 | 118 | b |  | TRUE |  | 0
2 | 97 | 121 | b |  | TRUE |  | 0
3 | 60 | 117 | b |  | TRUE |  | 0
4 | 54 | 92 | b |  | FALSE |  | 0
6 | 28 | 47 | b |  | FALSE |  | 0
7 | 17 | 56 | b |  | FALSE |  | 0
8 | 99 | 103 | b |  | FALSE |  | 0
9 | 11 | 19 | b |  | FALSE |  | 0
10 | 69 | 74 | b |  | FALSE |  | 0
11 | 21 | 40 | b |  | FALSE |  | 0

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service | min_p_mw | max_p_mw | min_q_mvar | max_q_mvar
0 |  | 0 | 1 | 0 | 1 | TRUE | 0 | 10 | -10 | 10

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | max_loading_percent
0 |  |  | 0 | 1 | 1 | 0.1732 | 0.4081 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
1 |  |  | 1 | 2 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
2 |  |  | 1 | 3 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
3 |  |  | 1 | 7 | 1 | 0.1299 | 0.3061 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
4 |  |  | 3 | 4 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
5 |  |  | 3 | 5 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
6 |  |  | 5 | 6 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
7 |  |  | 7 | 8 | 1 | 0.0866 | 0.204 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
8 |  |  | 8 | 12 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
9 |  |  | 8 | 9 | 1 | 0.283 | 0.2869 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
10 |  |  | 8 | 13 | 1 | 0.1299 | 0.3061 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
11 |  |  | 9 | 14 | 1 | 0.5346 | 0.542 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
12 |  |  | 13 | 34 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
13 |  |  | 13 | 18 | 1 | 0.3643 | 0.8184 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
14 |  |  | 14 | 11 | 1 | 0.3145 | 0.3188 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
15 |  |  | 14 | 10 | 1 | 0.3145 | 0.3188 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
16 |  |  | 15 | 16 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
17 |  |  | 15 | 17 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
18 |  |  | 18 | 19 | 1 | 0.3145 | 0.3188 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
19 |  |  | 18 | 21 | 1 | 0.1325 | 0.2976 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
20 |  |  | 19 | 20 | 1 | 0.4088 | 0.4144 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
21 |  |  | 21 | 22 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
22 |  |  | 21 | 23 | 1 | 0.1104 | 0.248 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
23 |  |  | 23 | 24 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
24 |  |  | 23 | 25 | 1 | 0.1214 | 0.2728 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
25 |  |  | 25 | 26 | 1 | 0.1516 | 0.3571 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
26 |  |  | 25 | 28 | 1 | 0.0883 | 0.1984 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
27 |  |  | 26 | 27 | 1 | 0.1191 | 0.2805 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
28 |  |  | 26 | 31 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
29 |  |  | 27 | 33 | 1 | 0.629 | 0.6376 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
30 |  |  | 28 | 29 | 1 | 0.1325 | 0.2976 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
31 |  |  | 29 | 30 | 1 | 0.1546 | 0.3472 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 100
32 |  |  | 30 | 120 | 1 | 0.0883 | 0.1984 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 101
33 |  |  | 31 | 32 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 102
34 |  |  | 34 | 15 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 103
35 |  |  | 35 | 36 | 1 | 0.2815 | 0.6631 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 104
36 |  |  | 35 | 40 | 1 | 0.1083 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 105
37 |  |  | 36 | 37 | 1 | 0.3774 | 0.3826 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 106
38 |  |  | 36 | 38 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 107
39 |  |  | 38 | 39 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 108
40 |  |  | 40 | 41 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 109
41 |  |  | 40 | 42 | 1 | 0.1083 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 110
42 |  |  | 42 | 43 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 111
43 |  |  | 42 | 44 | 1 | 0.0866 | 0.204 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 112
44 |  |  | 44 | 45 | 1 | 0.2516 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 113
45 |  |  | 44 | 47 | 1 | 0.1083 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 114
46 |  |  | 45 | 46 | 1 | 0.3774 | 0.3826 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 115
47 |  |  | 47 | 48 | 1 | 0.0655 | 0.1512 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 116
48 |  |  | 47 | 49 | 1 | 0.1092 | 0.252 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 117
49 |  |  | 49 | 50 | 1 | 0.1092 | 0.252 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 118
50 |  |  | 50 | 51 | 1 | 0.1092 | 0.252 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 119
51 |  |  | 52 | 53 | 1 | 0.0866 | 0.204 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 120
52 |  |  | 53 | 54 | 1 | 0.0541 | 0.1275 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 121
53 |  |  | 54 | 55 | 1 | 0.1191 | 0.2805 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 122
54 |  |  | 54 | 57 | 1 | 0.1529 | 0.3528 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 123
55 |  |  | 55 | 56 | 1 | 0.1191 | 0.2805 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 124
56 |  |  | 57 | 58 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 125
57 |  |  | 57 | 60 | 1 | 0.3276 | 0.756 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 126
58 |  |  | 58 | 59 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 127
59 |  |  | 60 | 61 | 1 | 0.2429 | 0.5456 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 128
60 |  |  | 60 | 62 | 1 | 0.3598 | 0.1779 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 129
61 |  |  | 62 | 63 | 1 | 0.2519 | 0.1246 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 130
62 |  |  | 63 | 64 | 1 | 0.5038 | 0.2491 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 131
63 |  |  | 64 | 65 | 1 | 0.6117 | 0.3025 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 132
64 |  |  | 65 | 66 | 1 | 0.4678 | 0.2313 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 133
65 |  |  | 67 | 68 | 1 | 0.2516 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 134
66 |  |  | 67 | 72 | 1 | 0.1201 | 0.2772 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 135
67 |  |  | 67 | 97 | 1 | 0.1092 | 0.252 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 136
68 |  |  | 68 | 69 | 1 | 0.3459 | 0.3507 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 137
69 |  |  | 69 | 70 | 1 | 0.4088 | 0.4144 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 138
70 |  |  | 70 | 71 | 1 | 0.3459 | 0.3507 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 139
71 |  |  | 72 | 73 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 140
72 |  |  | 72 | 76 | 1 | 0.0873 | 0.2016 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 141
73 |  |  | 73 | 74 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 142
74 |  |  | 74 | 75 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 143
75 |  |  | 76 | 77 | 1 | 0.1732 | 0.4081 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 144
76 |  |  | 76 | 86 | 1 | 0.3057 | 0.7056 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 145
77 |  |  | 77 | 78 | 1 | 0.05 | 0.102 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 146
78 |  |  | 78 | 79 | 1 | 0.0974 | 0.2295 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 147
79 |  |  | 78 | 80 | 1 | 0.2057 | 0.4846 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 148
80 |  |  | 80 | 81 | 1 | 0.2057 | 0.4846 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 149
81 |  |  | 81 | 82 | 1 | 0.1083 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 150
82 |  |  | 81 | 84 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 151
83 |  |  | 82 | 83 | 1 | 0.1083 | 0.255 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 152
84 |  |  | 84 | 85 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 153
85 |  |  | 86 | 87 | 1 | 0.1949 | 0.4591 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 154
86 |  |  | 87 | 88 | 1 | 0.2201 | 0.2232 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 155
87 |  |  | 87 | 89 | 1 | 0.1191 | 0.2805 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 156
88 |  |  | 89 | 90 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 157
89 |  |  | 89 | 91 | 1 | 0.0974 | 0.2295 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 158
90 |  |  | 91 | 92 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 159
91 |  |  | 91 | 93 | 1 | 0.0974 | 0.2295 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 160
92 |  |  | 93 | 94 | 1 | 0.3459 | 0.3507 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 161
93 |  |  | 93 | 95 | 1 | 0.1299 | 0.3061 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 162
94 |  |  | 95 | 96 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 163
95 |  |  | 97 | 98 | 1 | 0.1201 | 0.2772 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 164
96 |  |  | 98 | 99 | 1 | 0.2402 | 0.5544 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 165
97 |  |  | 99 | 100 | 1 | 0.131 | 0.3024 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 166
98 |  |  | 100 | 115 | 1 | 0.3494 | 0.8064 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 167
99 |  |  | 101 | 102 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 168
100 |  |  | 101 | 105 | 1 | 0.1201 | 0.2772 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 169
101 |  |  | 102 | 103 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 170
102 |  |  | 103 | 104 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 171
103 |  |  | 105 | 106 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 172
104 |  |  | 105 | 108 | 1 | 0.1419 | 0.3276 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 173
105 |  |  | 106 | 107 | 1 | 0.05 | 0.05 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 174
106 |  |  | 108 | 109 | 1 | 0.5661 | 0.5738 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 175
107 |  |  | 108 | 116 | 1 | 0.4367 | 1.008 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 176
108 |  |  | 109 | 110 | 1 | 0.3774 | 0.3826 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 177
109 |  |  | 110 | 111 | 1 | 0.7233 | 0.7333 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 178
110 |  |  | 110 | 112 | 1 | 0.1572 | 0.1594 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 179
111 |  |  | 112 | 113 | 1 | 0.6604 | 0.6695 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 180
112 |  |  | 113 | 114 | 1 | 0.4088 | 0.4144 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 181
113 |  |  | 119 | 35 | 1 | 0.1638 | 0.378 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 182
114 |  |  | 118 | 52 | 1 | 0.1732 | 0.4081 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 183
115 |  |  | 117 | 67 | 1 | 0.1516 | 0.3571 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 184
116 |  |  | 101 | 121 | 1 | 0.1092 | 0.252 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 185
117 |  |  | 51 | 122 | 1 | 0.1092 | 0.252 | 0 | 0 | 99999 | 1 | 1 | ol | TRUE | 186

## poly_cost
| element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2
0 | 0 | ext_grid | 0 | 20 | 0 | 0 | 0 | 0

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | bus | min_vm_pu | float64
6 | bus | max_vm_pu | float64
7 | load | name | object
8 | load | bus | uint32
9 | load | p_mw | float64
10 | load | q_mvar | float64
11 | load | const_z_percent | float64
12 | load | const_i_percent | float64
13 | load | sn_mva | float64
14 | load | scaling | float64
15 | load | in_service | bool
16 | load | type | object
17 | load | controllable | object
18 | switch | bus | int64
19 | switch | element | int64
20 | switch | et | object
21 | switch | type | object
22 | switch | closed | bool
23 | switch | name | object
24 | switch | z_ohm | float64
25 | ext_grid | name | object
26 | ext_grid | bus | uint32
27 | ext_grid | vm_pu | float64
28 | ext_grid | va_degree | float64
29 | ext_grid | slack_weight | float64
30 | ext_grid | in_service | bool
31 | ext_grid | min_p_mw | float64
32 | ext_grid | max_p_mw | float64
33 | ext_grid | min_q_mvar | float64
34 | ext_grid | max_q_mvar | float64
35 | line | name | object
36 | line | std_type | object
37 | line | from_bus | uint32
38 | line | to_bus | uint32
39 | line | length_km | float64
40 | line | r_ohm_per_km | float64
41 | line | x_ohm_per_km | float64
42 | line | c_nf_per_km | float64
43 | line | g_us_per_km | float64
44 | line | max_i_ka | float64
45 | line | df | float64
46 | line | parallel | uint32
47 | line | type | object
48 | line | in_service | bool
49 | line | max_loading_percent | float64
50 | poly_cost | element | uint32
51 | poly_cost | et | object
52 | poly_cost | cp0_eur | float64
53 | poly_cost | cp1_eur_per_mw | float64
54 | poly_cost | cp2_eur_per_mw2 | float64
55 | poly_cost | cq0_eur | float64
56 | poly_cost | cq1_eur_per_mvar | float64
57 | poly_cost | cq2_eur_per_mvar2 | float64